## Slide 1
Piotr J. Slomka, PhD, FACC
Scientist , Artificial Intelligence in Medicine
Cedars Sinai Medical Center
Professor of Medicine, UCLA school of Medicine
Cedars-Sinai Medical Center
Machine learning improves image analysis, diagnosis and prognostic risk assessment in cardiac imaging: an update”
Piotr.Slomka@cshs.org
Some software described in this presentation is owned by Cedars-Sinai Medical Center, which receives or may receive royalties from its licensing. A minority portion of those royalties is shared by the authors

## Slide 2: Machine learning
Predicitng anything that can be predicted
No particular model is assumed unlike in statistics
Testing data always separate from training data
Predicting death from CTA and clinical data EHJ 2016
Predicting MACE from fast MPS JACC Imaging 2017
Predicting cardiac/cardiovascular death from large registry
AHA 2017 (Nakanishi Slomka AHA 2017)
Deep learning SCCT, RSNA 2017
Predicting CAD by Deep learning from MPI images ASNC 2017
mage analysis
AN UPDATE

## Slide 3
Simple machine learning
The k-nearest neighbor algorithm assigns outcome based on the most similar training examples
MI -myocardial infarction
Deo RC Circulation 2015

## Slide 4: Ensemble (boosted) learning
http://magizbox.com
Similar to
consensus
human
reading

## Slide 5: Machine learning discussed for emerging AI tools for cardiovascular medicine
DL for unsupervised US
DL for precision cardiology
DL others …
Source: NVIDIA
may play an important role in emerging artificial intelligence tools for cardiovascular medicine
Notes: (Use Image NVIDIA)
Deep learning is a machine learning tool, proposed in the 90s but with breakthrough application in machine vision in the last years given the advance in hardware computational power (GPUs) and the availability of big amounts of data
Quote editorials in JACCimaging
They apply now in MR (Kaggle)
Now we apply here…
It has been hypothesized that the ability of deep learning to quantify relevant measurements from the raw image data itself will play an important role in cardiovascular medicine e.g. in precision cardiology (15) or as DL unsupervised feature for echocardiography imaging (8,16,17). In our study, we show that DL has the ability to enhance already highly-refined automatic quantification of MPI by direct analysis of polar map image data. We could leverage in our study the availability of large heterogenous population from multiple sites in our registry. We also could leverage the capabilities of the conventional software to transform raw 3D MPI images to simpler low-dimension polar maps, which nevertheless retain key perfusion information. Perhaps a similar approach could be also investigated in other imaging modalities. In the future, the direct diagnosis form raw 3D images by deep learning could be also possible but may require much larger sample sizes and could be more demanding for the DL architecture.

## Slide 6: CTA quantification predicts myocardial flow reserve by 13NH3 PET
Dey et al Circ Cardiovasc Imaging 2015
AUC=Area under curve
*p < 0.05 vs. PET alone
CTA automatic plaque characteristics( 5 features), myo mass, age/gender
LogitBoost ensemble learning 10-fold cross validation per-vessel per-patient
Machine learning

## Slide 7
Motwani M, EHJ 2016

## Slide 8: Feature selection and learning
(ensemble
Motwani M et al EHJ 2016

## Slide 9: Death prediction by ensemble machine learning over standard risk scores
ML-B -boosted machine learning
FRS –Framingham risk score
SSS –segmental stenosis score
SIS –segmental involvement score
DI -Duke index
AUC –area under curve
N=10,030
Motwani M et al, EHJ 2016

## Slide 10: Uncertainty of validation 10-fold cross-validation (CV) versus traditional (in medicine) split sample training/testing
Singh et al (in preparation)
Split sample
N=700 100 random data split simulations with 4 ML algorithms
10-fold CV
Repeated 10-fold CV
min/max
min/max
min/max
Average of 100 split sample divisions
Average of 10 split sample divisions
One arbitrary split sample division

## Slide 11: Prediction of 3-year MACE by MPI and machine learning
Stress TPD< 4 %
Stress TPD≥ 4 %
ML score ≥0.15
N= 1965
SSS ≥1
SSS= 0
N= 653
N=1993
N= 625
N= 1956
Machine learning for automated prediction of
major adverse coronary events after myocardial
perfusion imaging Betancur et al JACC Img 2017
N=2619 fast MPI scans
ML machine learning
MACE –major adverse cardiovascular events
TPD –total perfusion deficit
SSS/SDS –visual summed stress/difference score
Notes: SSS1, stress TPD, Machine learning score0.15 is 75 to 80 percentile for our population. Frequency of MACE in 80 percentile visual automated and machine learning scores. Compared to the visual and automated assessment, Machine learning has 1.2 to 13 times higher frequency of MACE.

## Slide 12
MACE by MPI and machine learning
How to use it clinically ?
Betancur et al JACC Cardiovascular Imaging 2017

## Slide 13: ML superior to clinical and CAC scores in predicting 12-year CHD and CVD
Cardiovascular death 971/66636 events
Cardiac death 524/66636 events
Nakanishi/Slomka et al. AHA 2017

## Slide 14: Does it have to be a “black box” ? ML prediction rationale for a given patient Alonso H et al, A Simple Model for Prediction of Cardiac Death ASNC 2016
In a clinical setting, it will be possible to interpret an individual ML assessment
Male 68 y/o SSS=29 SRS=28

## Slide 15
Deep learning
https://developer.nvidia.com/deep-learning caffe.berkeleyvision.org
Pretrained
nets
with > 1 mln
natural images
available

## Slide 16
Deep learning for adipose tissue segmentation from non-contrast CT
Dey D R01HL133616
>7000 patients

## Slide 17: Deep learning for image analysis non-contrast CT pericardial fat segmentation
Ground truth by expert
Deep learning
Dey D NIH RO1:1R01HL133616
Caffe:4 layers convolution/activation output per-pixel probability
Training 1100 slices: few hours on 2x Nvidia GTX1080. Testing < 5 sec per patient
Commandeur et al SCCT, RSNA 2017
R=0.93
R=0.95

## Slide 18: Predict obstructive disease with Deep learning
Does DL enhances standard prediction of obstructive disease by total perfusion deficit (TPD)?
Betancur, ASNC 2017
LAD
LCX
RCA
Patient score
Notes: In this work we assess the added value of deep convolutional neural networks for the prediction of obstructive disease from fast SPECT myocardia perfusion imaging as compared to the prediction by standard total perfusion deficits (TPD)

## Slide 19
Deep learning: prediction of obstructive disease from polar maps
AUC- area under curve
TPD –total perfusion deficit (current method)
Preliminary work
N =1638 MPI with invasive angiography (10-fold cross validation)
Betancur et al , ASNC 2017
NIH NHLBI grant R01HL089765
Multi site MPI registry
Training 1 hr.
Testing per case < 1sec

## Slide 20: Collected to date > 2,000 cases with cath, 18,500 with MACE follow up
Site | System | Protocols
Cedars-Sinai , Los Angeles Slomka, Berman | D-SPECT | Sestamibi rest/stress supine/upright
Aspire, Kansas City Bateman | DSPECT Siemens Symbia SPECT/CT | Low-dose sestamibi stress or stress/rest supine/upright ~50% stress-only AC for Symbia
Columbia, New York Einstein | GE 530c | Sestamibi prone/supine
Assuta, Israel Sharir | GE 530c | Low dose sestamibi supine/prone
Oregon Heart/Vascular Institute Fish | D-SPECT | Sestamibi rest supine stress supine/upright
Zurich University Hospital Kaufmann | GE 570c SPECT/CT GE Ventri/VCT SPECT/CT | Low-dose tetrofosmin stress/rest AC for all
Ottawa Heart Institute Canada Ruddy | GE 530c GE Infinia SPECT/CT | Low-dose tetrofosmin AC for GE Infinia
Yale University, New Haven, Miller, Sinusas | GE570c SPECT/CT GE Infinia SPECT/CT | Stress/rest sestamibi protocols. AC for all
Brigham and Women’s Boston Dorbala, DiCarli | D-SPECT Siemens Symbia SPECT/CT (IQ∙SPECT) | Same-day, dose-dependent rest/stress sestamibi. Supine/upright for D-SPECT AC for Symbia
NIH NHLBI grant R01HL089765
REgistry of Fast Myocardial Perfusion Imaging with NExt generation SPECT: ReFINe SPECT
NIH sponsored diagnostic/prognostic image registry, 9 national/international sites
All images automatically processed!

## Slide 21: Multimodality machine learning CTA + coronary PET for prognosis of heart attacks in high risk patients ?
Coronary 18F-NaF PET +CTA
Coronary PET quantification
Prediction of Recurrent Events With 18F-Fluoride (PREFFIR) ClinicalTrials.gov NCT02278211
Joshi et al Lancet 2014
Rubeaux et al JNM 2016
R01 HL135557

## Slide 22: Software vs physician?
“Patients whose lives and medical histories shape the algorithms, will emerge the biggest winners as machine learning transforms clinical medicine”
Obermayer and Emanuel New England Journal of Medicine 2016

## Slide 23: Machine learning in cardiac imaging
Machine learning (ML) combines multiple imaging and clinical datapoints in one score.
Deep learning perform image segmentation
ML can predict disease, intervention, or outcomes in terms of post-test probability
Quantitative computer interpretation will help clinicians find the right answer for a given patient